## Slide 1: Harnessing Flexible and Reliable Demand Response Under Customer Uncertainties
Joshua Comden, Zhenhua Liu, Yue Zhao
Stony Brook University
ACM eEnergy 2017

## Slide 2
Solar + Wind energy outpaces DR adoption
Chart: California
| 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Solar+Wind | 3.5162 | 3.3483 | 3.2623 | 4.0396 | 3.8528 | 4.1072 | 4.1705 | 4.2712 | 4.5151 | 5.2155 | 6.4427 | 8.2967 | 12.5631 | 14.9377 | 16.4795
CAISO DR | 2.4831 | 3.8231 | 4.4469 | 4.6873 | 3.0095 | 3.1697 | 3.2986 | 2.8073 | 2.9378
California State Legislature solution (2013):
1,325 MW of grid storage by 2020
http://energyalmanac.ca.gov/electricity/electric_generation_capacity.html
FERC Assessment of Demand Response and Advanced Metering Staff Reports: 2010-2015.
CAISO Demand Response Barriers Study 2009.
Expensive
Notes: As we know Solar and Wind generation is increasing rapidly, however Demand Response is not. ……The gap may widen if actions are not taken … Also using batteries for storage may not be environmentally friendly.

## Slide 3
Approaches to integrate renewables
Supply-side
Distributed Rate Control for Smart Solar Arrays
S. Lee , S. Iyengar , D. Irwin , P. Shenoy
Crowd-Sourced Storage-Assisted Demand Response in Microgrids
M. Hajiesmaili, M. Chen, E. Mallada, Chi-Kin Chau
EnergyCoupon: A Case Study on Incentive-based Demand Response in Smart Grid
B. Xia, H. Ming, K. Lee, Y. Li, Y. Zhou, S. Bansal, S. Shakkottai, L. Xie
Demand-side
Energy Storage:
Incentive Programs:
Our Approach
Generation and Evaluation of Flex-Offers from Flexible Devices
B. Neupane, L. Siksnys, T.B. Pedersen

## Slide 4
Goal: Increase reliable DR adoption
Approach: Incorporate Customer Uncertainties
Distributed Algorithm
Leverage Randomness
Notes: FCDR will optimize the Level of Commitment.

## Slide 5
Customer Load Reductions
Mandatory
Voluntary
Because DR Programs have various Levels of Commitment
Base Interruptible Program (BIP)
Emergency Response Service (ERS)
Special Case Resources (SCR)
Demand Bidding Program (DBP)
Voluntary Load Reduction (VLR)
Emergency DR Program (EDRP)
CAISO
ERCOT
NYISO
DR programs allocate customer uncertainties
Customer is
responsible
LSE is
responsible
Notes: Afterall, Demand Response is about handling uncertainties

## Slide 6
Customer uncertainties
Baseline
Mandatory DR to baseline may be costly
UMass Trace Repository: Smart* Data Set
Voluntary DR is not dispatchable for LSE.
vs.

## Slide 7
Challenges in handling customer uncertainties
LSE does not know each of the customer’s uncertainties.
DR programs that have customers take some responsibility are mandatory.

## Slide 8
Goal: Increase reliable DR adoption
Approach: Incorporate Customer Uncertainties
Distributed Algorithm
Leverage Randomness
Notes: FCDR will optimize the Level of Commitment.

## Slide 9
Demand Response for a single timeslot
Uncertainties
Demand Reductions
Customer 1
LSE
Aggregate
mismatch
Cost
Customer
mismatch
Customer 2
Customer
Social Cost ()
Capacity

## Slide 10
DR and Capacity Planning
Capacity
Minimize Social Cost
Aggregate mismatch
Customer mismatch
Customer cost
LSE
DR Social Cost ()
Time 0
Time 1,2,…
DR program

## Slide 11
Real-time Optimal
Known
Demand Reductions
Customer 1
LSE
Aggregate
mismatch
Cost
Customer
mismatch
Customer 2
Customer
Minimize Social Cost ()
Capacity

## Slide 12
Long-term Optimal
Capacity
Minimize Social Cost
LSE
Real-time Optimal Social Cost ()
Time 0
Time 1,2,…
Aggregate mismatch
Customer mismatch
Customer cost
Offline Optimal

## Slide 13
DR Program Design
DR program
Aggregate mismatch
Customer mismatch
Customer cost
Goal: Lower Social Cost towards Offline Optimal

## Slide 14
Linear contract
Within 10% Offline Optimal solution
Load Reduction
=
+
+
Aggregate mismatch
Individual mismatch
Constant reduction
=
+
+
Real-time Optimal: Quadratic cost functions
Simple and easy to implement
Notes: Give physical meaning and intuitions

## Slide 15
Customer cost functions raise challenges
Accuracy: LSE does not know their cost functions
Privacy: Customers do not want to give up their information
 Separate the DR decision problem

## Slide 16
Separating the DR decisions
++
Payment to customer for
Prices
LSE
Customer
Notes: Price for absorbing fraction of aggregate mismatch
Price for absorbing fraction of own local mismatch
Price for constant reduction
Price for absorbing 𝛼_𝑖 fraction of aggregate mismatch
Price for absorbing 𝛽_𝑖 fraction of own local mismatch
Price for constant reduction 𝛾_𝑖

## Slide 17
Distributed Algorithm
Customer 1
LSE
Customer 2
Customer
Subgradient Method
Notes: Price for absorbing fraction of aggregate mismatch
Price for absorbing fraction of own local mismatch
Price for constant reduction
Price for absorbing 𝛼_𝑖 fraction of aggregate mismatch
Price for absorbing 𝛽_𝑖 fraction of own local mismatch
Price for constant reduction 𝛾_𝑖

## Slide 18
Distributed Algorithm converges to Centralized
Theorem: The distributed algorithm’s trajectory of prices converges to the optimal centralized prices.
2
4
6
8
10
0
1000
2000
3000
4000
5000
iteration, k
Dist
Cent
Annual Social Cost ($)
2
4
6
8
10
0
0.2
0.4
0.6
0.8
iteration, k
CUST
Cent
1
LSE
iteration, k
2
4
6
8
10
0
0.002
0.004
2
4
6
8
10
0
2
4
6
8
10
0
0.002
0.004
0.002
0.004
Customer 1
Customer 2
Customer 3
( remain at 0 for centralized and distributed solutions)
Notes: Our numerical simulation results confirm the theorem.
Sum of alpha’s less than 1 because it takes into consideration customers’ costs.

## Slide 19
Linear contracts are robust to supply uncertainty
Wind Capacity (kW)
20
40
60
80
0
0.2
0.4
0.6
0.8
1
1.2
Social Cost
0
100
120
Wind Capacity (kW)
20
40
60
80
0
0.2
0.4
0.6
0.8
1
1.2
0
100
120
Demand Response
Within 10% of Offline Optimal
Notes: Intuition: As the Aggregate Mismatch gets larger, it gets more expensive for the LSE to handle it. Therefore, it offers a larger price for alpha so that the customers absorb more of the supply uncertainty.

## Slide 20
Customer cost uncertainty
0.1
0.2
0.3
0.4
0.2
0.4
0.6
0.8
1
1.2
Demand Response
0.1
0.2
0.3
0.4
0.5
1
1.5
2
Social Cost
Linear contract drawback: It is mandatory.
Required compliance during high customer cost periods
Customer cost uncertainty
Customer cost
time
Ex. Important tasks that need to be completed

## Slide 21
Goal: Increase reliable DR adoption
Approach: Incorporate Customer Uncertainties
Distributed Algorithm
Leverage Randomness
Notes: FCDR will optimize the Level of Commitment.

## Slide 22
LIN+( )
Aim to avoid high customer cost periods
0
1
Level of Commitment
LIN
Customer commits to fraction of timeslots to follow LIN
Commitment decision based only on realized cost function
=
Ex. Quadratic
Customer only knows before deciding to commit to DR
Notes: Avoid of highest cost timeslots.
Avoid (1−𝜌) of highest cost timeslots.

## Slide 23
LIN+ reduces cost further than LIN only
Annual Social Cost ($)
LIN
1
0.8
0.6
0.4
0.2
0
2300
2400
2500
2600
2700
2800
2900
RSD(a) = 0.05
RSD(a) = 0.56
Larger customer cost uncertainty
 larger savings from LIN+
Decrease from = 1
avoids high customer costs
Further decrease of larger mismatch for LSE
Level of Commitment

## Slide 24
Goal: Increase reliable DR adoption
Approach: Incorporate Customer Uncertainties
Converges to centralized solution
Lower Social Cost closer to Offline Optimal
Distributed Algorithm
Leverage Randomness
Notes: FCDR will optimize the Level of Commitment.

## Slide 25
Future work:
Incorporate power network constraints
Congested lines
Necessary to control local mismatches locally (with )
Ex. Line constraints
Notes: Challenge comes from complexity for the combination of which lines are congested.

## Slide 26: Harnessing Flexible and Reliable Demand Response Under Customer Uncertainties
Joshua Comden, Zhenhua Liu, Yue Zhao
Stony Brook University
ACM eEnergy 2017
Thank you!